Master Wall Guide Specification CFS

Cemplaster Fiberstucco

Specifiers note:  Stucco applications can be complex and may involve a variety of substrates and different applications.  This specification is primarily focused on a typical application over sheathing with an asphalt felt water barrier, 2.5#/sy metal lath, 1/2” thick Cemplaster Fiberstucco and a Superior Finish.  Edit as needed for your specific project or contact Master Wall Inc.® for your project needs.

PART I – GENERAL

1.01 SUMMARY

A. This document is to be used in preparing specifications for projects utilizing the Master Wall Inc.® Cemplaster 	Fiberstucco System.

Related Master Wall Inc.® documents:

1. Master Wall Inc.® Cemplaster Fiberstucco System Data Sheet

2. Master Wall Inc.® Cemplaster Fiberstucco System Application Instructions

3. Master Wall Inc.® Cemplaster Fiberstucco System Installation Details

4. Master Wall product data sheets

B. Related Sections

1. Unit Masonry – Section 04200

2. Concrete – Sections 03300 and 03400

3. Light Gauge Cold Formed Steel Framing – Section 05400

4. Wood Framing – Section 06100

5. Sealant – Section 07900

6. Flashing – Section 07600

1.02 SUBMITTALS

A. Manufacturer's specifications, details, installation instructions and product data

B. Manufacturer's standard warranty

C. Applicator's industry training credentials

D. Samples for approval as directed by architect or owner

E. Sealant manufacturer's certificate of compliance with ASTM C 1382

F. Prepare and submit project-specific details (when required by contract documents)

1.03 REFERENCES

A. ASTM Standards:

A641		Standard Specification for Zinc-Coated (Galvanized ) Carbon Steel Wire

A653		Specification for Sheet Steel Zinc coated (Galvanized) by the Hot-Dip Process, Commercial Quality

B69		Specification for Rolled Zinc

C144		Specification for Aggregate for Masonry Mortar

C297		Standard Test Method for Flatwise Tensile Strength of Sandwich Constructions

C578		Specification for Preformed, Cellular Polystyrene Thermal Insulation

C847		Standard Specification for Metal Lath

C897		Standard Specification for Aggregate for Job-Mixed Portland Cement-Based Plasters

C926		Standard Specification for Application of Portland Cement-Based Plaster

C1063	Standard Specification for Installation of Lathing and Furring for Portland Cement Plaster

C1177	Specification for Glass Mat Gypsum for Use as Sheathing

C1513 	Standard Specification for Steel Tapping Screws for Cold-Formed Steel Framing Connections

D226		Standard Specification for Asphalt-Saturated Organic Felt Used in Roofing and Waterproofing

D1784	Specification for Rigid Poly (Vinyl Chloride) (PVC) Compounds and Chlorinated Poly (Vinyl Chloride) (CPVC) Compounds

D4541	Test Method for Pull-Off Strength of Coatings Using Portable Adhesion Testers

E84	 	Test Method for Surface Burning Characteristics of Building Materials

E96	 	Standard Test Methods for Water Vapor Transmission of Materials

E283		Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen

E330		Test Method for Structural Performance of Windows, Curtain Walls, and Doors by Uniform Static Air Pressure Difference

E331		Test Method for Water Penetration of Exterior Windows, Skylights, Doors, and Curtain Walls by Uniform Static Air Pressure Difference

E783		Standard Test Method for Field Measurement of Air Leakage Through Installed Exterior Windows and Doors

E2178	Standard Test Method for Air Permeance of Building Materials

E2357	Standard Test Method for Determining Air Leakage of Air Barrier Assemblies

E2430	Standard Specification for Expanded Polystyrene (“EPS”) Thermal Insulation Boards For Use in Exterior Insulation and Finish Systems (“EIFS”)

E2556	Standard Specification for Vapor Permeable Flexible Sheet Water-Resistive Barriers Intended for Mechanical Attachment

G154	 	Recommended Practice for Operating Light-and Water-Exposure Apparatus (Fluorescent UV-Condensation Type) for Exposure of Nonmetallic Materials

B. Other Referenced Documents

APA Engineered Wood Association

PS 1	Voluntary Product Standard, Structural Plywood

PS 2	Performance Standard for Wood-Based Structural-Use Panels

E 30	APA Engineered Wood Construction Guide

AISI (American Iron and Steel Institute)

AISI S200-2007 North American Standard for Cold-Formed Steel Framing-General Provisions

ICC (International Code Council)

IBC	2012 and 2015 IBC (International Building Code)

ICC ES (International Code Council Evaluation Service)

AC 11	Acceptance Criteria for Cementitious Exterior Wall Coatings

AC 212	Acceptance Criteria for Water-resistive Coatings used as Water-resistive Barriers over Exterior Sheathing

C. Other Referenced Documents

American Association of Textile Chemists and Colorists AATCC-127 Water Resistance: Hydrostatic Pressure Test

UES Evaluation Report 384, Rollershield Water Barrier

Evaluation Report CCRR-0215, Master Wall Cemplaster Fiberstucco

Evaluation Report ER-0821, Cemplaster Fiberstucco L

QUIKRETE® Stucco Cobrand in Warranty Program, ER-0455

Western Blended Stucco Cobrand in Warranty Program, ER-0821

1.04 SYSTEM DESCRIPTION

A. Structural

1. Design for maximum allowable system deflection, normal to the plane of the wall, of L/360 with a substrate tolerance true to within 1/4" in 10’-0” (6.4 mm in 3.05 m).

2. Design for wind load in conformance with code requirements.  Also consult applicable code compliance report.

B. Moisture Control

1. Prevent the accumulation of water into or behind the Cemplaster Fiberstucco, either by condensation or leakage into the wall construction, in the design and detailing of the wall assembly.

a.	 Provide corrosion resistant flashing to direct water to the exterior where it is likely to penetrate components in the wall assembly, including, above window and door heads, beneath window and door sills, at roof/wall intersections, decks, abutments of lower walls with higher walls, above projecting features, and at the base of the wall.

b.	Wall System Design – design wall to eliminate vapor condensation within the wall assembly.

c.	Water-resistive Barriers/Drainage Provisions – Provide a barrier over framed construction to meet local building code requirements and indicated on the contract documents.

1. Minimum of two-layers sheet meeting ASTM D-226, Type 1, Grade D or building code-approved alternate.

2.  Minimum of two-layers of 10-minute Grade D sheet or two layers complying with ASTM E2556, Type I with individual layers applied separately (IBC 2021, B – Dry Climate Zones, 2510.6.1)

3.  Minimum of two-layers of 60-minute Grade D sheet complying with ASTM E2556, Type II with a layer of foam plastic insulating sheathing or other non-water absorbing layer (IBC 2021, B – Dry Climate Zones, 2510.6.1)

4.  Drainage provisions: minimum 3/16” (4.8 mm) space added to the above Water-resistive barriers to the exterior side  (IBC 2021, A & C – Moist/Marine Climate Zones, 2510.6.2).

5.  Drainage provisions: A space with minimum drainage efficiency of 90% as measured in accordance with ASTM E2273 or Annex A2 of ASTM E2925 added to the exterior side of the water-resistive barrier, e.g., grooved insulation board. (IBC 2021, A & C – Moist/Marine Climate Zones, 2510.6.2).

d.	Protect sills of rough openings with water resistant barrier, or “peel and stick” type membranes recognized by local codes.

e. Where casing bead is used back-to-back at expansion joints back joints with barrier membrane.  Refer to Master Wall®  details.

C. Grade Condition

1. Keep Cemplaster Fiberstucco a minimum of 6” (152 mm) above grade in framed construction.

D. Expansion Joints

1. The type, location, ground dimension and orientation of lathing accessories shall be indicated on the contract documents.  Provide expansion joints at locations of building movement.  Common locations include the following:

a. Where building movement is anticipated (substrate thermal joints, masonry control joints, etc.).

b. At dissimilar substrates.

c. At floor lines in certain wood framed constructions.

d. Where the Cemplaster Fiberstucco meets dissimilar materials.

2. Expansion joint design depends upon the anticipated movement.  Master Wall®  suggests the following minimum sizes, subject to design acceptance:  Windows/Doors – 3/8” (9.5 mm), Building Expansion/Dissimilar Substrates & Materials – 1/2” (13 mm), Floor Line (shrinkage) – 3/4” (19 mm), masonry control joints (1/2” (13 mm) or use a control joint).

3. Sealants

a. Shall be manufactured and supplied by others.

b. Shall be compatible with Cemplaster Fiberstucco System materials.  Refer to current Master Wall Inc.® Technical Bulletin #131 for listing of sealants approved by sealant manufacturer for use with stucco systems.

c. The sealant backer rod shall be of closed cell.

E. Control Joints

1. The type, location, ground dimension and orientation of lathing accessories shall be indicated on the contract documents. Common locations include the following:

a. Install control joint lathing accessories at locations to delineate cement plaster panel areas of 144 ft2 (13 m2) maximum for walls and  100 ft2 (9 m2) maximum for horizontal installation, that is, ceilings, curves, or angle type structures.

b. Install control joint lathing accessories at locations to delineate cement plaster panel areas of 18 ft (5 m) maximum dimension, in either direction or a maximum length-to-width ration of 2-1/2 to 1.

c. Install a control joint lathing accessory at locations where the ceiling framing or furring changes direction.

2. Increase joint requirements where thicker stucco or special structural conditions exist.

3. Typically control joints are tied to the metal lath, which is cut to make two discontinuous slabs but may be continuous if allowed locally following the recommended Technical Bulletin.

4. Double studs may be required to accommodate control joints or where it is needed to provide a fastening base for sheathing board joints.

5. When Cemplaster Fiberstucco is bonded to a solid substrate such as concrete or masonry the control joint requirements may be revised.  Control joints may be aligned with any control joints in the plaster base.

F. The type, location, ground dimension and orientation of lathing accessories shall be indicated on the contract documents.

G. Fire Protection

1. Refer to manufacturer’s applicable code compliance report for other limitations and fire-resistive assemblies that may apply.

H. Vapor Retarders and barriers – The use and location of vapor retarders and/or barriers within a wall assembly is the responsibility of the project designer and shall comply with local building code requirements.

I. Dark Colors - The use of dark colors must be considered in relation to wall surface temperature as a function of local climatic conditions.  Using a primer under dark or intense colors is suggested.

J. Flashing: Shall be provided at all roof-wall intersections, windows, doors, chimneys, decks, balconies, and other areas as necessary to prevent water from entering behind the Cemplaster Fiberstucco and wall system.

1.05 PERFORMANCE REQUIREMENTS

A. Cemplaster Fiberstucco System shall have been evaluated as follows:

Liquid Applied Air/Moisture Barrier Performance

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| 1. Water Penetration Resistance | AATCC 127 (Water Column) ICC ES (AC 212)* | Resist 21.6 in (55 cm) water for 5 hours before and after aging | Pass |
| 2. Water Penetration Resistance after Cyclic Wind Loading | ASTM E1233 / ASTM E331 | No water penetration beyond the inner-most plane of the wall after 15 minutes at 137 Pa (2.86 psf) | No water penetration |
| 3. Water Resistance Testing | ASTM D2247 ICC ES (AC 212)* | Absence of deleterious effects after 14-day exposure | Pass: Plywood Cement Board, OSB, Exterior Gypsum (ASTM C79/C1396) and Dens Glass Gold (ASTM C1377) substrates |
| 4. Water Vapor Transmission | ASTM E96 Method B (Water Method) | Measure | 30 perms (Rollershield-RS) 12 perms (Rollershield-TG) |
| 5. Air Leakage (material) | ASTM E2178 | < 0.004 cfm/ft2 at 1.57 psf (0.02 L/s•m2 at 75 Pa) | 0.0002 cfm/ft2 |
| 6. Air Leakage (assembly) | ASTM E2357 | < 0.04 cfm/ft2 (0.2 L/s•m2) @ 75 Pa | 0.003 L/s.m2 @ 75 Pa 0.02 L/s.m2 @ 300 Pa |
| 7. Racking | ASTM E72 ICC ES (AC 212)* | No cracking in field, at joints or interface with flashing at net deflection of 3.2 mm (1/8 inch) | Pass |
| 8. Freeze-thaw | ASTM E2485/ICC-ES Proc. ICC ES (AC 212)* | No deleterious effects after 10 cycles | Pass: Plywood, Cement Board, OSB, Exterior Gypsum (ASTM C79/C1396) and Dens Glass Gold (ASTM C1377) substrates |
| 9. UV Exposure | ICC ES Proc. ICC ES (AC 212)* | 210 hours of exposure | Pass |
| 10. Surface Burning | ASTM E84 | Flame Spread 0 – 25 for NFPA Class A, UBC Class I | Flame Spread: 5 Smoke Density: 5 |
| 11. Tensile Adhesion | ASTM C297 | >15 psi (103 kPa) | Dens Glass Gold 31 (215), Exterior Gypsum 28 (194), OSB 40 (277), Plywood 79 (563), Cement Board 70 (485), Copper 185 (1282), Galvanized steel 180 (1248), PVC 168 (1165), Aluminum 184 (1275), Coated Aluminum 203 (1407), Stainless Steel 183 (1269) |

* AC212 – Acceptance Criteria for Water-Resistive Coatings Used as Water-Resistive Barriers over Exterior Sheathing, also referred to as ASTM E 2570

Fibered Stucco Weather Resistance and Durability Performance*

| TEST | METHOD | CRITERIA | RESULTS |
| --- | --- | --- | --- |
| 1. Freeze/Thaw | ASTM C67 | Pass All Code Criteria | Pass |
| 2. Compressive Strength | ASTM C109 | 1900 psi | Pass |
| 3. Transverse Wind Load | ASTM E330 | Withstand positive and negative wind loads as specified by the building code. | +/- 150 psf Ultimate. Allowable varies by Code |
| 4. Accelerated Weathering | ASTM G26 | 2000 hours | Pass |

Fire Performance

| TEST | METHOD | CRITERIA | RESULT |
| --- | --- | --- | --- |
| 1. Surface Burning (individual components) | ASTM E84 | Individual components shall each have a flame spread of 25 or less, and smoke developed of 450 or less | Flame Spread: 0 Smoke Developed: 0 |
| 2. Fire Rating | ASTM E119 | One Hour | Pass |
| 3. Non combustibility | ASTM E136 | Furnace testing at 750°C | Noncombustible |
| 4. Multi-Story Fire | NFPA 285 | Fire Resistance in multi-story buildings | Pass – designs vary |

1.06 QUALITY ASSURANCE

A. Qualifications

1. System Manufacturer: Shall be Master Wall Inc.®.  All materials shall be manufactured or sold by Master Wall Inc.® and shall be purchased from Master Wall Inc.® or its authorized distributors.

2. Contractor: Shall be knowledgeable in the proper installation of the Master Wall Inc.® Cemplaster Fiberstucco System and shall be experienced and competent in the installation of stucco.  Additionally, the contractor shall possess a current Master Wall Inc.® applicator certificate issued by Master Wall Inc.®

B. Regulatory Requirements

1. Foam plastic insulation shall be separated from the interior of the building by a minimum 15-minute thermal barrier.

2. The use and maximum thickness of foam plastic insulation shall be in accordance with the applicable building codes.

C. Mock-Up

1. As directed, the contractor shall, before the project commences, provide the owner/architect with a mock-up for approval.

2. The mock-up shall be of suitable size as required to accurately represent the products being installed, as well as each color and texture to be utilized on the project.

3. The mock-up shall be prepared with the same products, tools, equipment, and techniques required for the actual application.  The finish used shall be from the same batch that is being used on the project.

4. The approved mock-up shall be available and maintained at the job site.

5. For panelized construction, the mock-up shall be available and maintained at the panel fabrication location.

1.07 DELIVERY, STORAGE AND HANDLING

A. All Master Wall Inc.® materials shall be delivered to the job site in the original, unopened packages with labels intact.

B. Upon arrival, materials shall be inspected for physical damage, freezing, or overheating.  Questionable materials shall not be used.

C. Deliver all materials in original unopened packages with labels intact. Verify all quantities, colors, and textures 	against bill of lading.

D. Store all materials protected from direct exposure to weather conditions and at temperatures not less than 40°F (4°C) or greater than 110°F (43°C).

E. Stack insulation board flat, fully supported off the ground and protected from direct exposure to the sun.

F. Material Safety Data Sheets (MSDS) or Safety Data Sheets (SDS) shall be supplied for the components of the system and be available at the job site.

1.08 PROJECT CONDITIONS

A. Ambient air temperatures shall be 40°F (4°C) or greater and rising at the time of installation of the Master Wall Inc.® products and shall remain at 40°F (4°C) or greater for at least 24 hours after application.

B. Provide supplemental heat and protection as required when the temperature and conditions are not in accordance with installation requirements. Sufficient ventilation and time shall be provided to ensure that materials have sufficiently dried prior to removing supplemental heat.

C. Adequate protection shall be provided to prevent weather conditions (humidity, temperature, and precipitation) from having an effect on the curing or drying time of Master Wall Inc.® materials.

D. Adjacent materials and the Cemplaster Fiberstucco System shall be protected during installation and while curing from weather and shall be protected from site damage.

E. Coordinate installation of the Cemplaster Fiberstucco System with related work specified in other sections to 	ensure that the wall assembly is protected to prevent water from getting behind the system. The cap flashing shall be installed as soon as possible after the finish coat has been applied. When this is not possible, temporary protection shall be provided immediately in this area.

F. All sealant work shall be installed in a timely manner.  Protect open joints from water intrusion during construction with backer rod, or temporary covering, until permanently sealed.

G. Sufficient labor and equipment shall be employed to ensure a continuous operation, free of cold joints, scaffolding lines, and texture variations, etc.

H. Existing Conditions - The contractor shall have access to electric power, clean water, and a clean work area at the location where the Master Wall Inc.® materials are to be applied.

1.09 SEQUENCING AND SCHEDULING

A. Installation of the Cemplaster Fiberstucco System shall be coordinated with other construction trades.

B. Sufficient labor and equipment shall be employed to ensure a continuous operation, free of cold joints, scaffold lines, texture variations, etc.

1.10 LIMITED MATERIALS WARRANTY

A. Provide a manufacturer’s warranty against defective material upon request.

1.11 MAINTENANCE

A. Maintenance and repair shall follow the procedures noted in Master Wall Inc.® Technical Bulletins #112 and #129.

PART II – PRODUCTS

2.01 MANUFACTURER

A. All components of the Cemplaster Fiberstucco System shall be supplied or obtained from Master Wall Inc.® or	its authorized distributors.  Substitutions or additions of materials other than specified will void the warranty.

2.02 MOISTURE BARRIER (WRB)

(Supplied by various manufacturers) (Typical Application/Optional Component) <edit>

- WRB01 Minimum of two-layers sheet meeting ASTM D-226, Type 1, Grade D or building code-approved alternate, or minimum of two-layers of 10-minute Grade D sheet or two layers complying with ASTM E2556, Type I with individual layers applied separately, or minimum of two-layers of 60-minute Grade D sheet complying with ASTM E2556, Type II with a layer of foam plastic insulating sheathing or other non-water absorbing layer (IBC 2021, B – Dry Climate Zones, 2510.6.1)

B. WRB02 Tyvek® StuccoWrap®  or approved equal sheet weather resistive barrier with a minimum 15-lb/100 ft2 (0.683 kg/m2) vapor permeable asphalt saturated felt in compliance with ASTM D 226, Type I or similar in 	accordance with building code.

C. WRB03 Master Wall® Rollershield LAB, Liquid Applied Air and Water Barrier over an approved sheathing substrate with a minimum 15-lb/100 ft2  (0.683 kg/m2) vapor permeable asphalt saturated felt in compliance with ASTM D 226, Type I or similar in accordance with building code.

D. WRB04 Master Wall® Rollershield LAB, Liquid Applied Air and water barrier over concrete or masonry substrates with asphalt-based slip sheet.

E. Peel & Stick Tape:  Compatible with moisture barrier, optional behind control joints. <edit>

F. Other weather barrier meeting the local building code criteria and accepted by Master Wall Inc.®

2.03 CONTINUOUS INSULATION (CI)

(Supplied by various manufacturers) (Typical Application/Optional Component)<edit>

A.	Expanded polystyrene (EPS) - EPS foam insulation boards, when used as a sheathing, must have a nominal density of 1.5 lb/pcf, and a flame-spread index of 25 or less and a smoke developed index of not more than 450 when evaluated in accordance with ASTM E84. The boards must all comply with ASTM C578 as Type II. All boards must be recognized in an Evaluation Report and in the Evaluation Report of the one coat stucco manufacturer.

B.	Foam insulation boards installed without sheathing, over open framing, must have a minimum nominal 1-inch thickness and have a 3/8” (9.5 mm) high tongue with compatible grooves for horizontal joints.

C.	Extruded polystyrene (XPS) - XPS foam insulation boards must have a minimum nominal density of 1.5 lb/pcf and must comply with ASTM C578 as Type IV or V.

D.	Polyisocyanurate - Polyisocyanurate foam insulation boards must have a nominal density of 2 lb/pcf and must comply with ASTM C1289 as Type II. Polyisocyanurate foam insulation boards must have a flame spread index of 25 or less and a smoke-developed index of 450 or less tested in accordance with ASTM E84 or UL723. Polyisocyanurate boards shall have all squared joints installed at horizontal and vertical edges supported by framing or blocking and be limited to non-fire-resistant-rated and combustible construction.

E.	Mineral Wool – Boards must meet the requirements of ASTM C612 as Type IVA or IVB compliant mineral fiber block and board thermal insulation for both solid substrate and open frame construction. Mineral wool insulation boards must have a flame spread index of 0 and a smoke developed index of 0 in accordance with ASTM E84 or UL 723.

F.	Insulation Thickness

1.	CI00 No continuous insulation used.

2.	CI01 1” (25.4 mm) insulation thickness

3.	CI02* 1.5” (38 mm) insulation thickness

4.	CI03* 2” (50.8 mm) insulation thickness

5.	CI04 External Insulation (Reference External Insulation information)

G.	Provide closure where insulation board is exposed at grade.  Reference EIFS Plastic Accessories data sheet.

*Special lath attachment required.  See 2.12.

2.04 DRAINAGE SPACER (DRS)

(Supplied by various manufacturers) (Typical Application/Optional Component) <edit>

A. DRS00 No drainage spacer used.

B. DRS01  Advanced Building Products Inc. Mortairvent: Rainscreen Mat with Backer Fabric, 6 mm & 10 mm, Benjamin Obdyke Home Slicker: Rainscreen Mat, Home Slicker Plus Typar: Rainscreen Mat with water barrier, Home Slicker Stone & Stucco: Rainscreen Mat with mortar fabric.

C. DRS02 Colsella Dörken Delta®-Dry or Delta®-Dry Plus High Performance Rainscreen System, Keene® Building Products Driwall Rainscreen 020-1.

2.05 CEMPLASTER FIBERSTUCCO (CFS)

A. Master Wall® Cemplaster Fiberstucco - factory proportioned, fiber reinforced Portland cement-based stucco for trowel or pump application, field mixed with graded sand (ASTM C 897) and water.

B. Master Wall® Ready Cemplaster Fiberstucco - factory proportioned, fiber reinforced Portland cement-based stucco for trowel or pump application, field mixed with water.

C.	Master Wall® Cemplaster Fiberstucco L - factory proportioned, fiber reinforced lightweight stucco for trowel or pump application, field mixed with water.

D. Cemplaster Fiberstucco Co-Brand Products - Approved Quikrete®, Spec Mix® or Western 1-Kote stucco supplied by an authorized Master Wall® distributor and approved in Master Wall Inc.® Co-Brand data sheet and warranty program.

E. Installed thickness shall be: <edit> 3/8” (9.5 mm) CFS01, CFS02, 1/2" (12.7 mm) CFS02, CFS03, 3/4" (19 mm) CFS04*, 7/8” (22.2 mm) CFS05* (*ASTM C926 compliant thickness).

2.06 STUCCO BONDING AGENTS AND ADDITIVES (SA)

(Typical Application/Optional Component) <edit>

A. BA57-water based acrylic resin bonding agent for brush or roller application to prepared masonry or concrete surfaces for direct application to porous substrates.

B. SA00 No stucco additive used.

C. SA01 Master Wall® Stucco Ad Liquid, mixed 3 quarts (2.8 liters) per mix of Cemplaster Fiberstucco, 1 quart (0.95 liters) of Ready Cemplaster Fiberstucco.

D. SA02  Master Wall® Stucco Ad Liquid, mixed 2 gallons (7.6 liters) per mix of Cemplaster Fiberstucco, 3 quarts (2.8 liters) of Ready Cemplaster Fiberstucco.

E. SA03  Master Wall® Stucco Ad Liquid, mixed 5 gallons (19 liters) per mix of Cemplaster Fiberstucco, 1-1/2 gallons (5.7 liters) of Ready Cemplaster Fiberstucco.

2.07 SURFACE REINFORCEMENT MESH (SRM)

(Typical Application/Optional Component) <edit>

A. SRM00 No Surface Reinforcement Mesh used.

B. SRM01 Bulltec Reinforcing Mesh embedded into wet stucco brown coat.

2.08 LEVELING BASE COATS (LBC)

(Typical Application/Optional Component) <edit>

A. LBC00 No leveling base coat used.

B. LBC01 Leveling base coat of Master Wall® F&M, F&M Plus, MBB, MBB Plus, Guardian or WeatherSTOP.

C. LBC02  Reinforced leveling base coat of Master  Wall®  F&M, F&M Plus, MBB, MBB Plus, Guardian or WeatherSTOP embedded in Master  Wall®  Standard or Bulltec Mesh.

2.09 FOAM TRIM <edit>

A. Decorative foam trim pieces using Master Wall® materials and recommendations in accordance with the Foam 	Shapes product data sheet.

2.10 PRIMER (PRIME)

(Typical Application/Optional Component) <edit>

A. PRIME00 No primer used.

B. PRIME01 Master Wall® Primecoat or Sanded Primecoat: acrylic-based tinted primer.

2.11 FINISH COAT (FIN)

(Typical Application/Optional Component) <edit>

A. FIN01 Superior Finishes: Master Wall Inc.® Superior Finishes are acrylic-based wall coatings available in a variety of colors and textures. The following textures are available:

1. Perfect 2.0 - riled texture

2. Fine Sand 1.0 – sand type texture

3. Medium Sand 1.5 – coarse sand texture

4. Versatex 0.5 – Fine texture used to create numerous finishes

B. FIN02 Superior Elastomeric Plus Finish: Master Wall Inc.® Superior Finishes using elastomeric polymers to bridge minor cracking.  The following textures are available:

1. Perfect 2.0 - riled texture

2. Fine Sand 1.0 – sand type texture

3. Medium Sand 1.5 – coarse sand texture

4. Versatex 0.5  – Fine texture used to create numerous finishes

C. Finish Enhancements

1. Silicone Coat FA02 - Factory added silicone enhancement for better water resistance and to keep buildings cleaner.

2. Excel Mildew Enhancement FA01 - Factory added mildew booster exceeding ASTM D3273 requirements.

D. Specialty Finishes

1. Aggrelime – Limestone Look Finish

2. Aggre-stone – Rough Granite Look

3. CIFS® Brick Realistic Brick

4. CIFS® Wood Grain

5. Brick Stencil

6. LaCantera – Beautiful Cantera Stone Look

7. Lumia – Granite with Sparkling Mica

8. Marbleflex – Brilliant Plaster Finish

9. Metallic Cote – Metallic Look Finish Coating

10. Metal-Tex - Integrally Colored Metallic Look Textured Finish

11. Savannah – Interior/Exterior Venetian Plaster Type Finish

12. Superior Stone – Smooth Granite Look

13. Taratex – Earthen look Plaster

14. Travertine – Recreates the look of Travertine Limestone

E. Accents & Coatings

1. DuraCote architectural coating

2. Elasto-flex elastomeric architectural coating

3. Clearshield clear protective coating

4. Vintique antiquing accent

2.12 METAL PLASTER BASES

(Supplied by others; select one depending on type construction) <edit>

A.	Furring- Metal plaster bases shall be furred over all substrates .

B.	When the base coat thickness is 1/2-inches (12.7 mm) thick or less, the body of metal plaster base shall be furred a nominal of 1/8-inch (3.2 mm) from the substrate.

C.	When the base coat thickness greater than 1/2-inches (12.7 mm) thick, the body of metal plaster base shall be furred a nominal of 1/4-inch (6.4 mm) from the substrate.

D. Approved Plaster Bases

1. Expanded metal lath meeting ASTM C847 Standard Specification for Metal Lath.

2.	Welded wire lath meeting ASTM C933 Standard Specification for Welded Wire Lath.

3.	Woven wire lath meeting ASTM C1032 Standard Specification for Woven Wire Plaster Base.  20 gage woven wire may only be used when the base coat thickness is 1/2-inches (12.7 mm) thick or less.

4.  Nonmetallic plaster bases meeting ASTM C1788; St. Gobain Fibalath™ Glass Fiber Lath, Plastic Components Ultra Lath Plus.

E.	Lathing accessories shall meet specifications in ASTM C1861, Specification for Lathing and Furring Accessories, and  Fasteners, for Interior and Exterior Portland Cement-Based Plaster.

F. Selecting the appropriate type of plaster base and accessories shall be up to the design professional. Plaster base and accessories should be selected to be compatible with the environment and climatic conditions specific to the location of the project. These conditions include, but are not limited to, salt air, high moisture, and industrial pollution.

G.	 Common Metal Plaster Base Combinations

1. CFS01, 3/8” thick Cemplaster Fiberstucco Minimum No. 17 or 20-gauge galvanized steel woven wire fabric in compliance with ASTM C 1032, Structa Fusion One Coat Stucco Lath or StructaLath III No. 17 SFCR.

2. CFS03, 1/2” thick Cemplaster Fiberstucco Minimum 2.5 lb./yd2 (1.4 kg/m2) self-furred galvanized steel diamond mesh metal lath in compliance with ASTM C 847.

3. CFS03-TT, 1/2” thick Cemplaster Fiberstucco with Structalath Twin Trac 316: Welded wire lath reinforcement 	manufactured by Structa Wire Corp. and recognized in ICC-ES ESR-2017.

4. CFS03-SS, 1/2” thick Cemplaster Fiberstucco Minimum 2.5 lb./yd2 (1.4 kg/m2) self-furred stainless steel diamond mesh metal lath in compliance with ASTM C 847, 304 or 316 stainless steel.

5. CFS04, 3/4 ” thick Cemplaster Fiberstucco Minimum 3.4 lb./yd2 (1.8 kg/m2) self-furred galvanized steel diamond mesh metal lath in compliance with ASTM C 847.

6. CFS-04-ML, 3/4 ” thick Cemplaster Fiberstucco with Structalath Mega Lath: Welded wire lath reinforcement manufactured by Structa Wire Corp. and recognized in ICC-ES ESR-2017.

7. CFS04-SS, 3/4 ” thick Cemplaster Fiberstucco Minimum 3.4 lb./yd2 (1.8 kg/m2) self-furred stainless steel diamond mesh metal lath in compliance with ASTM C 847, 304 or 316 stainless steel.

8. CFS05, 7/8” thick Cemplaster Fiberstucco Minimum 3.4 lb./yd2 (1.8 kg/m2) self-furred galvanized steel diamond mesh metal lath in compliance with ASTM C 847.

9. CFS-05-ML, 7/8” thick Cemplaster Fiberstucco  with Structalath Mega Lath: Welded wire lath reinforcement manufactured by Structa Wire Corp. and recognized in ICC-ES ESR-2017.

10. CFS05-SS, 7/8” thick Cemplaster Fiberstucco Minimum 3.4 lb./yd2 (1.8 kg/m2) self-furred stainless steel 	diamond mesh metal lath in compliance with ASTM C 847, 304 or 316 stainless steel.

11. Striplath Minimum 4” x 12” (102 mm x 305 mm), in types and weights noted above.

2.13 MECHANICAL FASTENING & ATTACHMENT (by others) <edit>

A. Appropriate non-corroding fasteners, depending on the type framing or substrate and lath-specific requirements:

1. Wood Framing--minimum 11-gauge, 7/16-inch (11 mm) diameter head galvanized roofing nails or 1-inch wire staples driven flush with the plaster base with minimum 3/4-inch (19 mm) penetration into studs, or minimum #8 Type S wafer head fully threaded corrosion resistant screws with minimum 3/4-inch (19 mm) penetration into studs.

2. Steel Framing—minimum #8 Type S or S-12 wafer head fully threaded corrosion resistant screws with minimum 3/8-inch (9.5 mm) penetration into studs.

3. Concrete or Masonry—minimum # 8 wafer head fully threaded corrosion resistant screws for masonry with minimum 1 inch (25 mm) penetration into substrate and approved corrosion resistant hand, power, or powder actuated stub nails with a minimum 3/8” (9.5 mm) head and not less than 3/4" (19 mm) long.

4. For stainless steel, use washers with galvanized fasteners or use stainless steel fasteners to avoid galvanic reaction.

B. Tie Wire—18 gauge galvanized and annealed low-carbon steel in compliance with ASTM A 641 with Class I coating, 18 ga stainless steel wire for stainless steel lath and accessories.

C. Support Plates – For Continuous Insulation (CI) thicknesses of 1.5” (38 mm) or greater, CI02 and CI03 use an approved accessory plate.  Wind-Lock Lath Lock or ULP 302, Demand DP300, Buildex Gridmate or Master Wall®  approved equal.

2.14 ACCESSORIES

(By others) <edit>

A. Weep screed, casing bead, corner bead, cornerite, corner lath, expansion, and control joint accessories.  All accessories shall meet the requirements of ASTM C 1063 and its referenced documents:

1. PVC plastic in compliance with ASTM D 1784, cell classification 13244C.

2. Galvanized metal in compliance with ASTM A653 with G60 coating.

3. Zinc in compliance with ASTM B69.

4. 304 stainless steel trim manufactured in accordance with ASTM C841.

B. All accessories shall be designed with grounds for the specified thickness of the Cemplaster Fiberstucco.

2.15 JOB MIXED INGREDIENTS

A. Water: Clear, clean, and potable without any foreign matter in the solution that may affect the color and setting 	qualities of the cement, adhesive, base, or finish coat.

B. Sand:  Clean, well graded sand free of deleterious materials in compliance with ASTM C897.

C. Cement: Type I or I-II Portland cement meeting ASTM C150.

2.16 MIXING

A. Mix products in accordance with manufacturer’s recommendations.

PART III – EXECUTION

3.01 INSPECTION

A. Prior to the application of Master Wall Inc.® Cemplaster Fiberstucco, the substrate shall be examined for compliance with the contract documents and Master Wall Inc.®  specifications. The substrate shall have no planar irregularities greater than ¼” in 10’ (6.4 mm in 3.05 m). The General Contractor and Architect shall be advised in writing of any discrepancies. Work shall not proceed until unsatisfactory conditions are corrected.

3.02 PREPARATION

A. Protect contiguous work from damage during application of the Cemplaster Fiberstucco. Temporary covering may be required to prevent over spray or splattering of exterior finish coatings on other work.

B. Protect substrate from inclement weather during installation. Prevent infiltration of moisture behind the system that may affect the substrate.

C. Cemplaster Fiberstucco, Adhesive, Base Coats and Finishes shall not be installed when ambient air temperature is below 40°F (5°C). The temperature shall remain at or above 40°F (5°C) during mixing, application and until materials have cured.

D. Sufficient scaffolding, labor and tools shall be provided to prevent cold joints.

E. The substrate shall be clean and dry.

F. Flashings shall be installed as required by construction documents and Master Wall Inc.® details in a manner to prevent the intrusion of water behind the Cemplaster Fiberstucco. All flashing materials should direct the water to the exterior face of the finished system.

G. Concrete (Cast-in-Place)

1. Provide a surface that is slightly scarified, water absorbent, straight and true to within 1/4” in 10’-0” (6.4 mm in 3.05 m).  Grind down any projections and remove any form release agents by an appropriate method.  Establish surface profile by sandblasting, water blasting, wire brushing, chipping, or other appropriate means. Remove all dust, dirt, grease, laitance, or other bond inhibiting material.  Pre-moisten highly absorbent surfaces with water or BA57 prior to placement of Cemplaster Fiberstucco.

H. Concrete Masonry Units

1. Remove projecting joint mortar so it is even with the plane of the wall.  Remove surface contaminants such as efflorescence, existing paint or any other bond inhibiting material by sandblasting, water blasting, wire 	brushing, chipping, or other appropriate means. Pre-moisten highly absorbent surfaces with water or BA57 prior to placement of Cemplaster Fiberstucco.

I. Gypsum Sheathing in compliance with ASTM C1396, Glass Mat Faced Gypsum Sheathing in compliance with ASTM C 1177 and Exterior or Exposure 1 wood-based sheathing (plywood and OSB [Oriented Strand Board]).

1. Verify acceptable installation of sheathing according to the type of sheathing specified.

2. Protect the substrate with a moisture barrier as required by the applicable code and install lath and accessories.

3.03 INSTALLATION, GENERAL

A. Comply with the manufacturers’ current published instructions, (specifications, details, data sheets and technical 	bulletins) for the installation of the Cemplaster Fiberstucco.

B. Mix materials in accordance with Master Wall® literature.

C. Comply with local building codes.

3.04 MOISTURE BARRIER (WRB) INSTALLATION

(Supplied by various manufacturers) (Typical Application/Optional Component) <edit>

A. WRB01 Apply 15-lb/100 ft2  (0.683 kg/m2) vapor permeable asphalt saturated felt in compliance with ASTM D 226, Type I or similar in accordance with building code.  Apply shingle fashion lapping the water barrier 2” (50 mm) horizontally and 6” (15 cm) horizontally.  Apply in the same manner if used as a single-layer slip sheet.

B. WRB02 Tyvek® StuccoWrap®  or building code approved equal sheet weather resistive barrier.  Install in strict accordance with manufacturer’s recommendations.

C. WRB03 Master Wall® Rollershield LAB, Liquid Applied Air and Water Barrier over an approved sheathing substrate with a single layer of WRB01 as a slip sheet.  Install in strict accordance with the Master Wall® Rollershield LAB installation instructions.  Use Rollershield and Rollershield Flashing Tape in accordance with installation recommendations.

D. WRB04 Master Wall® Rollershield LAB, Liquid Applied Air and water barrier over concrete or masonry substrates with a single layer of WRB01 as a slip sheet. Install in strict accordance with the Master Wall® Rollershield LAB installation instructions.  Use Rollershield and Rollershield Flashing Tape in accordance with installation recommendations.

E. Peel & Stick Tape:  Install in strict accordance with manufacturer’s recommendations as indicated on drawings, optional/required behind control joints. <edit>

3.05 CONTINUOUS INSULATION (CI)

(Supplied by various manufacturers) (Typical Application/Optional Component) <edit>

A. CI00 No continuous insulation used.

B. CI01 1” (25.4 mm) insulation thickness (R-5 @75F).

C. CI02* 1.5” (38 mm) insulation thickness (R-7.5 @75F).

D. CI03* 2” (50.8 mm) insulation thickness (R10 @75F).

E. CI04 External Insulation (Reference External Insulation information)

F. Install insulation tightly in accordance with Master Wall Inc.®  and manufacturer recommendations in a running bond pattern, interlock inside and outside corners.

G. Fasten insulation boards in place using approved fastening method in the center of the board at framing locations.

H. If the insulation is being used as a weather resistive barrier (WRB), seal in accordance with manufacturers recommendations.

I. Provide closure where insulation board is exposed at grade.  Reference Plastic Accessories data sheet.

*Special lath attachment required.  See 2.12.

3.06 DRAINAGE SPACER (DRS)

(Supplied by various manufacturers) (Typical Application/Optional Component) <edit>

A. DRS00 No drainage spacer used.

B. DRS01  Advanced Building Products Inc. Mortairvent: Rainscreen Mat with Backer Fabric, 6 mm & 10 mm, Benjamin Obdyke Home Slicker: Rainscreen Mat, Home Slicker Plus Typar: Rainscreen Mat with water barrier, Home Slicker Stone & Stucco: Rainscreen Mat with mortar fabric., Keene Building Products Driwall Rainscreen 075: Wide Spaced Rainscreen Mat, Driwall Rainscreen 075-1: Wide Spaced Rainscreen Mat with mortar fabric. Install in strict accordance with manufacturer’s recommendations.  Attach drainage spacer at framing locations only.

C. DRS02 Colsella Dörken Delta®-Dry or Delta®-Dry Plus High Performance Rainscreen System or Keene® Building Products Driwall Rainscreen 020-1.  Install in strict accordance with manufacturer’s recommendations.  Attach drainage spacer at framing locations only.

D. Where a defined drainage space is provided over the weather resistive barrier under lath and cement plaster, the ground dimension of lathing accessories with solid attachment flanges installed behind the water resistive barrier and defined drainage space to facilitate drainage such as weep screeds, designated drainage screeds, expansion joints and drainage flashings, shall accommodate the defined drainage space dimension and specified cement plaster thickness.  Install components and flashings as needed to facilitate drainage.

3.07 ACCESSORY, LATH INSTALLATION

After satisfactory inspection of surfaces and correction of any deviations from specification requirements commence the Cemplaster Fiberstucco installation in accordance with A or B below.  Accessory type, depth, location, and orientation shall be included in the contract documents.  Where masonry or concrete surfaces vary in plane, plaster thickness required to produce level surfaces shall not be required to be uniform.

A. Installation over new cast-in-place concrete or concrete masonry units (unreinforced):

1. Install foundation weep screed at the base of the wall as required.

2. Install casing beads at Cemplaster Fiberstucco terminations—doors, windows and other through wall penetrations.  Install two-piece expansion joints, back-to-back casing beads or control joints at joints in the supporting construction, building expansion joints, where the Cemplaster Fiberstucco is to be installed over dissimilar construction or substrates, at changes in building height, at floor lines, columns, and cantilevered areas as directed on the construction documents.  Install corner bead at outside corners and corner lath at inside corners (except where lathing is installed continuously through the corner).  Install full accessory pieces where possible and avoid small pieces.  Seal adjoining pieces by embedding ends in sealant if specified.  Abut horizontal into vertical joint accessories.  Attach at 6 inches (152 mm) on center into concrete/masonry with appropriate fasteners.

3. Solid surfaces shall have the suction (ability to absorb water) or surface roughness, or both, to provide the bond required for plaster.

4.	 Smooth or nonabsorbent solid surfaces, such as cast-in-place or precast concrete, shall be prepared to receive Cemplaster Fiberstucco by one of the following methods as needed:

a. Sandblasting, wire brushing, acid etching or chipping or a combination thereof.

b.	Application of a dash-bond coat applied forcefully against the surface, left untroweled, undisturbed, and moist cured for at least 24 hours

c.	Pre-moisten with BA57 prior to the placement of Cemplaster Fiberstucco.

B. Installation over frame construction with sheathing and reinforced masonry with a WRB:

1. Weep Screed Installation

a. Install foundation weep screed at the base of the wall securely to framing with the appropriate fastener.  Locate foundation weep screed so that it overlaps the joint between the foundation and framing by a minimum of 1 inch (25 mm).  Locate the foundation weep screed minimum 4 inches (101 mm) above earth grade, 2 inches (51 mm) above finished grade (paved surfaces, for example).

2. Weather Protection

a. Weather barrier will lap onto foundation weep screed as noted in Master Wall® details.

b. Verify that WRB installation is complete.

3. Casing Bead and Expansion Joint Installation

a. Install casing beads at Cemplaster Fiberstucco terminations—doors, windows and other through wall penetrations.  Install expansion joints (or back-to-back casing beads) at building expansion joints, where the Cemplaster Fiberstucco is to be installed over dissimilar construction or substrates, at changes in building height, at floor lines, columns, and cantilevered areas.  Install full accessory pieces where possible and avoid small pieces.  Seal adjoining pieces by embedding ends in sealant.  Abut horizontal into vertical joint accessories.  Attach at 6-inch (152 mm) centers into framing with appropriate fasteners. (Note: refer to architectural drawings for joint locations and accessory type.  Moisture protection must be continuous behind joints and accessories.)

4. Control Joint Installation

a. Install control joints according to the type, location, ground dimension and orientation as indicated on the contract documents.  Tack in place as insure proper alignment during the application of the lath.  Wire tie control joints to lath at 6 inches (152 mm) on center if framing members are not present under the accessory.

b. Seal any exposed ends and edges preferably by setting them in sealant during installation to prevent water entry.

c. Install peel and stick flashing tape under wall control joint locations if specified. <not a requirement, edit>

5. Lath Installation

a. Diamond Mesh Metal Lath

1. General--install metal lath with the long dimension at right angles to structural framing.  Terminate lath at expansion joints and also at control joints where not surface applied.  Stagger side laps a minimum of one framing member.

2. Seams/overlaps – Side laps shall be lapped a minimum of 1/2” (13 mm) and a maximum of 2” (50 mm).  End laps shall be lapped a minimum of 1” (25 mm) and a maximum of 2” (50 mm).  overlap side seams 1/2 inch (13 mm) and end seams a minimum 1-inch (25 mm).  Overlap casing beads and expansion joints minimum 1 inch (25 mm) onto the narrow wing accessories and 2 inches over expanded flange accessories.

3. Attachment-fasten securely through sheathing into structural framing at 6 inches (152 mm) on center maximum vertically and 16-24 inches (41-61 cm) on center horizontally*.  Wire tie horizontal laps at 8 inches (204 mm) on center at side laps, and where end laps occur between supports.

b. Wire Lath

1. General--unroll wire lath with the long dimension at right angles to structural framing.  Terminate wire lath at expansion joints and also control joints where not surface applied.  Stagger side laps a minimum of one framing member.

2. Seams/overlaps – Side laps shall be lapped a minimum of  one mesh at sides and ends.  Where end laps occur between framing members, the ends of the sheets shall be laced, or wire tied with tie wire a minimum of 0.0475 (1.21 mm) diameter.

3. Attachment--fasten securely through sheathing into structural framing at 6 inches (152 mm) on center maximum vertically and 16-24 inches (41-61 cm) on center horizontally*.  Wire tie horizontal laps at 8 inches (204 mm) on center at side laps, and where end laps occur between supports.

(*Note: the type of fastener selected, its layout and pullout or withdrawal value from the supporting construction must be verified and approved by the project engineer/architect with respect to design wind load and local building code requirements).

c. Paper-backed lath—follow installation as for metal lath.  Lap lath over lath, not paper to lath overlap. For horizontal overlaps the paper backing must lap shingle style behind the lath-to-lath overlap.

d. Structa Wire Products – follow manufacturer’s instructions for installation.

e. Apply Striplath, minimum 4” x 12” (102 mm x 305 mm), in type and weights of selected lath at casing bead corners if control joints are not used off windows and doors.

f. Inside and Outside Corners - Install corner lath at inside corners and corner bead at outside corners over lath (except where lathing is installed continuously through the corner).  Attach through lath into framing at 6 inches (152 mm) on center with appropriate fasteners.

3.08 CEMPLASTER FIBERSTUCCO APPLICATION

A. Cemplaster Fiberstucco Application

1. Mix Master Wall® Cemplaster Fiberstucco in strict accordance with Master Wall Inc.® recommendations adding additional components identified in the project specifications.

2. When mixing add Master Wall® Stucco Ad Liquid in quantities noted in SA01 assemblies.

3. Scratch Coat: apply Cemplaster Fiberstucco with sufficient pressure to key into and embed the metal lath (if used). Apply sufficient material, approximately half the Cemplaster Fiberstucco ground thickness to cover the metal lath and to permit scoring the surface.  Score the Cemplaster Fiberstucco horizontally upon completion of each panel in preparation for brown coat if a “double back” application of a wet scratch and brown coat is not being used.

4. Brown Coat: as soon as the scratch coat is firm enough to receive the brown coat without damage, apply the brown coat with sufficient pressure to ensure intimate contact with the first coat to an approximate thickness as needed to bring the Cemplaster Fiberstucco to a uniform thickness that matches the grounds of the accessories.  Use a rod or straight edge to bring the surface to a true, even plane.  Fill depressions in plane with Cemplaster Fiberstucco.

5. After the Cemplaster Fiberstucco has become slightly firm float the surface lightly with a Darby or wood float to densify the surface and to provide a smooth, even surface.  Embed Bulltec Mesh into the wet brown coat if specified.

6. Moist cure using fogging, plastic films, or other method acceptable to the design professional for 48-72 hours. Mixes with Master Wall® Stucco Ad Liquid do not need moist curing.

7. Allow to fully cure until clean, dry, and hard before finishing:

•	Typically, 7-14 days if no Master Wall® Stucco Ad Liquid is used.

•	After 72 hours if Master Wall® Stucco Ad Liquid  is used provided the Cemplaster Fiberstucco is clean, dry, and hard.

•	After 24 hours if using a leveling base coat (LBC).

8. See Master Wall® Technical Bulletins and data sheets for additional curing, drying and application recommendations.

(Note: The proper time to float is when the wood float no longer sticks to the surface of the Cemplaster Fiberstucco)

B. Leveling Base Coat (LBC01 and LBC02)

a. Ensure that the surface of the Cemplaster Fiberstucco is cured, clean, dry, and free of efflorescence, oil or other contaminants that would impair adhesion.

b. Mix Leveling Base Coat materials in accordance with Master Wall Inc.®  recommendations

c. LBC01: Apply the base coat to the entire surface of the Cemplaster Fiberstucco approximately 3/32” (2.4 mm) thick.

d. LBC02: Apply the base coat to the entire surface of the Cemplaster Fiberstucco approximately 3/32” (2.4 mm) thick.  Immediately embed Master Wall Inc.®  reinforcing mesh into wet base coat with a trowel, working from the center toward the edges, until the mesh is fully covered, and a smooth surface is achieved. The color of the mesh shall not be visible, but a slight mesh pattern may be visible. Lap mesh 2 ½” (64 mm) minimum on all sides. Reinforcing Mesh shall be continuous through all interior and exterior corners extending beyond the corner a minimum of 12” (30 cm) from both directions creating a minimum of two layers of standard reinforcing mesh on all interior and exterior corners.

e. Allow to dry a minimum of 12 hours at room temperature before finishing.

3.09 FINISH APPLICATION

A. Primecoat Application (PRIME01)

1. Apply Primecoat or Sanded Primecoat: Apply evenly according to the data sheet using  brush, roller, or proper spray equipment over the clean, dry Cemplaster Fiberstucco and foam shape buildouts and allow to dry thoroughly before applying finish.

B. Superior Finish Coat Application (FIN01 and FIN02)

1. Surface irregularities in the base coat, such as trowel marks, insulation board lines and reinforcing mesh laps shall be corrected prior to the finish application.

2. Apply the Master Wall Inc.® Superior Finish in the color and texture as approved by the project owner or the project architect with sufficient labor and equipment to insure a continuous operation without cold joints, scaffolding lines etc. Texture finish shall match approved jobsite samples. Thickness and coverage will vary depending on the specified final appearance.

3. Trowel Application – (Perfect 2.0, Fine Sand 1.0, Medium Sand 1.5, Versatex 0.5)

a. Apply the Superior Finish to the clean, dry, and cured base coat with a stainless-steel trowel.

b. Level the surface to a uniform thickness of 3/32” to 1/8” (2.4-3.2 mm).

c. Float the Finish with a plastic float in a uniform motion to achieve the desired texture.

C. Spray Application – (Perfect 2.0, Fine Sand 1.0, Medium Sand 1.5, Versatex 0.5)

a. Prime surface with Master Wall Inc.® Primecoat or Sanded Primecoat tinted to match the selected finish color. Allow Primecoat or Roller-Flex to cure a minimum of 12 hours prior to finish coat application.

b. Using a conventional plaster hopper gun or a proven pump, spray finish over the primed base coat to achieve desired texture using a circular overlapping pattern keeping the spray gun at a 90° angle to the surface and maintaining the same distance to the wall at all times.

c. Be cautious of flooding an area with too much finish because it may appear shinier when it dries.

D. Specialty Finishes:  Follow individual product data sheet application instructions.

3.10 JOB SITE CLEANUP

A.	Clean work area in accordance with contract documents removing all excess materials, droppings, and debris. Clean adjacent surfaces.

B.	Other trades may now install their work – Sheet Metal (Section 07620), Sealants (Section 07900), Mechanical 	(Section 15000), Electrical (Section 16000).

3.11 PROTECTION

A. Cemplaster Fiberstucco System shall be protected from inclement weather and other sources of damage until dry and permanent protection in the form of flashings, sealants, etc. are installed.

Disclaimer

This Specification is published for general informational purposes only and is not intended to imply that these are the only materials, procedures, or methods, which are available or suitable. Materials, procedures, or methods may vary according to the particular circumstances, local building code requirements, design conditions, or statutory and regulatory requirements. While the information in this specification is believed to be accurate and reliable, it is presented without guarantee or responsibility on the part of Master Wall Inc.®