LiMaW105 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing.

1.1 System Description

The Master Wall® LiMaW105 is a light masonry stone or thin brick application over cement board.  It uses two coats of SuperiorShield 				Rollershield as the air and water barrier under the cement board with UltraBond as the adhesive for ICC-ES AC51 compliant stone or thin 			brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed 					construction, and other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 5-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness or PermaBase® CI along with 				recommended fasteners.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar:  A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.4 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.5 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 				rake/tool when thumb print hard.

3.6 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaW205 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing.

1.1 System Description

The Master Wall® LiMaW205 is a light masonry stone or thin brick application over a scratch coat of Master Wall® Cemplaster Fiberstucco.  			It uses two coats of 	SuperiorShield Rollershield as the air and water barrier and a slip sheet of asphalt felt under the stucco with 				UltraBond as the adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed 					construction, and other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. Cemplaster Fiberstucco product bulletins, application instructions and attachment methods.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 5-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Master Wall® Cemplaster Fiberstucco with 2.5 #/sy self-furring metal lath reinforcement:

A. Cemplaster or Ready Cemplaster Fiberstucco and related components.

B.  2.5 #/sy self-furring metal lath complying with ASTM C847 applied over ASTM D226 Type I Asphalt Felt as a slip sheet 					or paper backed lath.  Alternatively, Keene Driwall™ Rainscreen 020-1 may be used in lieu of the asphalt felt.

C. Appropriate fasteners and trims as noted in the Cemplaster Fiberstucco specifications.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar:  A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water 				barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil 				thickness of at least 22 mils.

3.3 Apply the asphalt felt slip sheet, Keene Driwall™ 020-1 if used or mechanically attach Lath or Paper backed lath to the framing members at 			6" (15 cm) centers.  Lap lath in accordance with Master Wall Instructions and terminate base into a weep screed placed at least 1" over 			foundation and 4" minimum above grade, flash in accordance with Cemplaster Fiberstucco instructions.

3.4 Apply a minimum 3/8" coat of Cemplaster Fiberstucco, embedding it completely into the metal lath.  Score horizontally in a scratch coat 				application, allow to set up.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaM105 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and ASTM C1177 exterior gypsum sheathing.

1.1 System Description

The Master Wall® LiMaM105 is a light masonry stone or thin brick application over cement board.  It is applied over two weather-resistive 				barriers under the cement board with UltraBond as the adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick 				Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include ASTM C1177 exterior gypsum sheathing or approved alternates.

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and 				other areas where significant movement occurs.

1.3 Quality Assurance

A. The weather resistive barrier shall be as recognized in the applicable building code or recognized alternative.

B. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 5-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness or PermaBase® CI along with recommended 			fasteners.

2.2 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.3 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect application of the weather resistive barrier.

3.2 Install weather resistive barrier in accordance with building code requirements.  Two layers or approved equivalent products.

3.3 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.4 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.5 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.6 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaC105 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over clean and prepared surfaces of concrete or masonry.

1.1 System Description

The Master Wall® LiMaC105 is a light masonry stone or thin brick application over concrete or masonry.  It is applied with UltraBond as the 			adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include unpainted, cured, clean and dry surfaces of concrete and masonry.

E. Expansion joints are required in the cladding at building expansion joints, panel joints and other areas where significant movement occurs.

1.3 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.4 Warranty

A.  Application shall include a 5-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.2 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect application of the weather resistive barrier.

3.2 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.3 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.4 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaW110 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing.

1.1 System Description

The Master Wall® LiMaW110 is a light masonry stone or thin brick application over cement board.  It uses two coats of SuperiorShield 				Rollershield as the air and water barrier and a drainage mat under the cement board with UltraBond as the adhesive for ICC-ES 				AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and 				other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 10-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Drainage Mat: Keene Driwall™ Rainscreen 020-1.

2.3 Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness or PermaBase® CI along with 				recommended fasteners.

2.4 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.5 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Mechanically fasten rainscreen with a cap nail, cap staple, or cap screw; one fastener for each square foot following Keene instructions.   				DO NOT FASTEN THROUGH FLASHING.

3.4 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaW210 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing.

1.1 System Description

The Master Wall® LiMaW210 is a light masonry stone or thin brick application over a scratch coat of Master Wall® Cemplaster Fiberstucco.  			It uses two coats of SuperiorShield Rollershield as the air and water barrier and a drainage mat under the stucco with UltraBond as the 			adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. Cemplaster Fiberstucco product bulletins, application instructions and attachment methods.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 10-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Drainage Mat: Keene Driwall™ Rainscreen 020-1.

2.3 Master Wall® Cemplaster Fiberstucco with 2.5 #/sy self-furring metal lath reinforcement:

A. Cemplaster or Ready Cemplaster Fiberstucco and related components.

B.  2.5 #/sy self-furring metal lath complying with ASTM C847.

C. Appropriate fasteners as noted in the Cemplaster Fiberstucco specifications.

2.4 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.5 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Mechanically fasten rainscreen with a cap nail, cap staple, or cap screw; one fastener for each square foot following Keene instructions.   				DO NOT FASTEN THROUGH FLASHING.

3.4	Mechanically attach lath to the framing members at 6" (15 cm) centers.  Lap lath in accordance with Master Wall Instructions and terminate 			base into a weep screed placed at least 1" over foundation and 4" minimum above grade, flash in accordance with Cemplaster 				Fiberstucco instructions.

3.5 Apply a minimum 3/8" coat of Cemplaster Fiberstucco, embedding it completely into the metal lath.  Score horizontally in a scratch coat 				application, allow to set up.

3.6 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.7 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.8 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMai310TV Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Rollershield Drainage CIFS® with Light Masonry (LiMa) application over wood or metal framing and approved substrates.  This system is limited to lower floor levels below 40' in height and/or Type V construction.

1.1 System Description

The Master Wall® LiMai310TV is a light masonry stone or thin brick application over a Rollershield Drainage CIFS® application. It uses two coats of SuperiorShield Rollershield as the air and water barrier with F&M or MBB as the adhesive for the insulation board and to embed the mesh.  UltraBond adheres the ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB), ASTM C1177 exterior 				gypsum sheathing, concrete, masonry or other approved substrates noted on the Rollershield-RS data sheet.

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and 				other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. Rollershield Drainage CIFS® product bulletins, application instructions and attachment methods.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 10-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Master Wall® Insulation Adhesive: Foam & Mesh (F&M) or Master Wall Bagged Base (MBB) adhesive.

2.3 Master Wall® Insulation Board:

A. ASTM C578, Type I Insulation Board.

B.  Other insulation board types as referenced in Rollershield Drainage CIFS® applications.

2.4 	 Master Wall® Mesh:

A. Standard Mesh.

B.  Other mesh types as referenced in Rollershield Drainage CIFS® applications.

2.5 	 Support Fasteners and Plates:

A. Wind-Lock™ climate treated fasteners with Lath Lock plates or approved equal.  Size fasteners for insulation and sheathing thickness 				and of type appropriate for the material being fastened to.

2.6 Master Wall® Base Coat: Foam & Mesh (F&M) or Master Wall Bagged Base (MBB) base coat.

2.7 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.8 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water 				barrier.  Follow Rollershield Drainage CIFS® specification and details for the application and as outlined below.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil 				thickness of at least 22 mils.

3.3 Backwrap insulation board as required in the Rollershield Drainage CIFS detailing and flash as required.

3.4	Adhere the insulation board to the Rollershield using a vertical notched adhesive application method, following data sheet and Rollershield Drainage CIFS® application methods but using Foam & Mesh (F&M) or Master Wall Bagged Base (MBB) as the adhesive.  Allow to cure at least 8 hours before proceeding with the application.

3.5	Lightly rasp the insulation board.

3.6	Apply wet F&M or MBB to the insulation board surface with a stainless-steel trowel approximately 1/16" (1.6 mm) thick and immediately 				embed mesh into the wet base coat.  Lap mesh 2-1/2" (63.5 mm) minimum on all sides per typical system recommendations.  				Trowel smooth so that no mesh color is visible.  Allow to cure at least 8 hours before proceeding with the application.

3.7	Attach Lath Lock plates with fasteners through the dried base coat and into framing members.  Fasten along framing members every 36" 				(91 cm) vertically and within 6" of wall tops.

3.8 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.9 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar	 device and 			rake/tool when thumb print hard.

3.10 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMai410TV Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Rollershield Drainage CIFS® with Light Masonry (LiMa) application over wood or metal framing and approved substrates.  This system is limited to lower floor levels below 40' in height and/or Type V construction.

1.1 System Description

The Master Wall® LiMai410TV is a light masonry stone or thin brick application over a Rollershield Drainage CIFS® application. It uses two coats of SuperiorShield Rollershield as the air and water barrier with F&M or MBB as the adhesive for the insulation board and to embed the mesh.  UltraBond adheres the ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB), ASTM C1177 exterior 				gypsum sheathing, concrete, masonry or other approved substrates noted on the Rollershield-RS data sheet.

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and 				other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. Rollershield Drainage CIFS® product bulletins, application instructions and attachment methods.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 10-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Master Wall® Insulation Adhesive: Foam & Mesh (F&M) or Master Wall Bagged Base (MBB) adhesive.

2.3 Master Wall® Insulation Board:

A. ASTM C578, Type I Insulation Board.

B.  Other insulation board types as referenced in Rollershield Drainage CIFS® applications.

2.4 	 Master Wall® Mesh:

A. Medium Mesh.

B.  Other mesh types heavier than Medium as referenced in Rollershield Drainage CIFS® applications.

2.5 Master Wall® Base Coat: Foam & Mesh (F&M) or Master Wall Bagged Base (MBB) base coat.

2.6 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.7 CIFS® Brick Mortar:  A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.  			Follow Rollershield Drainage CIFS® specification and details for the application and as outlined below.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum single coating with a dry mil thickness of at least 10 			mils.

3.3 Backwrap insulation board as required in the Rollershield Drainage CIFS detailing and flash as required.

3.4	Adhere the insulation board to the Rollershield using a vertical notched adhesive application method, following data sheet and Rollershield 				Drainage CIFS® application methods using F&M or MBB as the adhesive.  Allow to cure at least 8 hours before proceeding with the 				application.

3.5	Lightly rasp the insulation board.

3.6	Apply wet F&M or MBB to the insulation board surface with a stainless-steel trowel approximately 1/16" (1.6 mm) thick and immediately 				embed mesh into the wet base coat.  Lap mesh 2-1/2" (63.5 mm) minimum on all sides per typical system recommendations. Trowel 				smooth so that no mesh color is visible.  Allow to cure at least 8 hours before proceeding with the application.

3.7 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.8 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.9 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMai510CB Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing with insulated cement board.

1.1 System Description

The Master Wall® LiMai510CB is a light masonry stone or thin brick application over insulated cement board.  It uses two coats of 				SuperiorShield Rollershield as the air and water barrier under the cement board with UltraBond as the adhesive for ICC-ES AC51 				compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB), ASTM C1177 exterior 				gypsum sheathing, concrete, masonry or other approved substrates noted on the Rollershield-RS data sheet.

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and 				other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 10-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Cement Board:  National Gypsum PermaBase® CI along with recommended fasteners.

2.3 Master Wall® Stone/Thin Brick Adhesive: 	UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.4 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.5 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.6 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMai610CB Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing with polyisocyanurate insulation and cement board.

1.1 System Description

The Master Wall® LiMai610CB is a light masonry stone or thin brick application over polyisocyanurate insulation and cement board. It uses 			two coats of SuperiorShield Rollershield as the air and water barrier under the cement board with UltraBond as the adhesive for ICC-ES 			AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB), ASTM C1177 exterior 				gypsum sheathing, concrete, masonry or other approved substrates noted on the Rollershield-RS data sheet.

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 10-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Polyisocyanurate Insulation:

A. Hunter Xci-CG or CG (Class A), maximum 1"(25 mm) thick.

B. Hunter Xci-Foil (Class A), maximum 1"(25 mm) thick.

2.3	Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness along with recommended fasteners.

2.4 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.5 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Tack-attach insulation board panels to the framing using Wind-Lock™ climate treated fasteners with Lath Lock plates or approved equal.  				Size fasteners for insulation and sheathing thickness and of type appropriate for the material being fastened to.

3.4	Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaW120 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over wood or metal framing and sheathing on a building interior.

1.1 System Description

The Master Wall® LiMaW120 is a light masonry stone or thin brick application over cement board.  It uses two coats of SuperiorShield 				Rollershield as the air and water barrier and a drainage mat under the cement board with UltraBond as the adhesive for ICC-ES AC51 				compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 20-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Drainage Mat: Keene Driwall™ Rainscreen 020-1.

2.3 Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness along with recommended fasteners.

2.4 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.5 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Mechanically fasten rainscreen with a cap nail, cap staple, or cap screw; one fastener for each square foot following Keene instructions.   				DO NOT FASTEN THROUGH FLASHING.

3.4 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaM120 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over metal framing and sheathing.

1.1 System Description

The Master Wall® LiMaM120 is a light masonry stone or thin brick application over a scratch coat of acrylic modified Master Wall® 				Cemplaster Fiberstucco.  It uses two coats of SuperiorShield Rollershield as the air and water barrier and a drainage mat under the 				stucco with UltraBond as the adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. Cemplaster Fiberstucco product bulletins, application instructions and attachment methods.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 20-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Drainage Mat: Keene Driwall™ Rainscreen 020-1.

2.3 Master Wall® Cemplaster Fiberstucco with 2.5 #/sy self-furring metal lath reinforcement:

A. Cemplaster or Ready Cemplaster Fiberstucco and related components.

B.  2.5 #/sy self-furring metal lath complying with ASTM C847.

C. Appropriate fasteners as noted in the Cemplaster Fiberstucco specifications.

D. Stucco Additive SA03 Master Wall® Stucco Ad Liquid, mixed 5 gallons (19 liters) per mix of Cemplaster Fiberstucco, 1-1/2 gallons (5.7 				liters) of Ready Cemplaster Fiberstucco.

2.4 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.5 CIFS® Brick Mortar:  A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Mechanically fasten rainscreen with a cap nail, cap staple, or cap screw; one fastener for each square foot following Keene instructions.   				DO NOT FASTEN THROUGH FLASHING.

3.4	Mechanically attach lath to the framing members at 6" (15 cm) centers.  Lap lath in accordance with Master Wall Instructions and terminate 			base into a weep screed placed at least 1" over foundation and 4" minimum above grade, flash in accordance with Cemplaster 				Fiberstucco instructions.

3.5 Mix Cemplaster Fiberstucco using Stucco Ad-Liquid in quantities noted above.  Apply a minimum 3/8" coat of Cemplaster Fiberstucco, 				embedding it completely into the metal lath.  Score horizontally in a scratch coat application, allow to set up.

3.6 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.7 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.8 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaM220 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over metal framing and ASTM C1177 exterior gypsum sheathing.

1.1 System Description

The Master Wall® LiMaM220 is a light masonry stone or thin brick application over a sheathing with two water barriers, a leveling coat of 				scratch coat of Master Wall® Cemplaster Fiberstucco.  Two coats of SuperiorShield Rollershield is applied over the stucco with 				UltraBond as the adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. The weather resistive barrier shall be as recognized in the applicable building code or recognized alternative.

D. Cemplaster Fiberstucco product bulletins, application instructions and attachment methods.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 20-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 Master Wall® Cemplaster Fiberstucco with 2.5 #/sy self-furring metal lath reinforcement:

A. Cemplaster or Ready Cemplaster Fiberstucco and related components.

B.  2.5 #/sy self-furring metal lath complying with ASTM C847.

C. Appropriate fasteners as noted in the Cemplaster Fiberstucco specifications.

2.2 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar:   A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect application of the weather resistive barrier.

3.2 Install weather resistive barrier in accordance with building code requirements.  Two layers or approved equivalent products.

3.3	Mechanically attach lath to the framing members at 6" (15 cm) centers.  Lap lath in accordance with Master Wall Instructions and terminate 			base into a weep screed placed at least 1" over foundation and 4" minimum above grade, flash in accordance with Cemplaster 				Fiberstucco instructions.

3.4 Apply a minimum 3/8" coat of Cemplaster Fiberstucco, embedding it completely into the metal lath.  Finish surface flat with no exposed 				lath and allow to cure for at least 3-5 days until the surface is hard and dry.

3.5 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.6 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.7 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.8 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.9 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaM320 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over metal framing and ASTM C1177 exterior gypsum sheathing.

1.1 System Description

The Master Wall® LiMaM320 is a light masonry stone or thin brick application over cement board.  It uses two coats of SuperiorShield 				Rollershield as the air and water barrier, a water barrier slip sheet under the cement board with UltraBond as the adhesive for ICC-ES 				AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. The weather resistive barrier shall be as recognized in the applicable building code or recognized alternative.

D. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 20-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.2 Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness or PermaBase® CI along with recommended 			fasteners.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar:   A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect the adhesion of the Rollershield air and water barrier.

3.2 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.3 Install weather resistive barrier in accordance with building code requirements.

3.4 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaM420 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over metal framing and ASTM C1177 exterior gypsum sheathing.

1.1 System Description

The Master Wall® LiMaM420 is a light masonry stone or thin brick application over cement board and weather resistive barriers.  It uses two 			coats of SuperiorShield Rollershield as the air and water barrier over the cement board with UltraBond as the adhesive for ICC-ES AC51 			compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include CDX exterior grade plywood, Exposure 1 Oriented Strand Board (OSB).

E. Expansion joints are required in the cladding at building expansion joints, panel joints, floor lines in wood framed construction, and other 			areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

C. The weather resistive barrier shall be as recognized in the applicable building code or recognized alternative.

D. National Gypsum PermaBase® installation instructions and code report.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 20-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 Cement Board:  National Gypsum PermaBase® in 1/2" (12.7 mm) or 5/8" (15.9 mm) thickness or PermaBase® CI along with recommended 			fasteners.

2.2 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar:  A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect later work.

3.2 Install weather resistive barriers in accordance with building code requirements.

3.3 Attach cement board to framing members using approved fasteners at a minimum of 8" (20 cm) centers.

3.4 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaC130 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over cured concrete and masonry surfaces.

1.1 System Description

The Master Wall® LiMaC130 is a light masonry stone or thin brick application over cured concrete and masonry surfaces.  It uses two coats 			of SuperiorShield Rollershield as the air and water barrier over the surface with UltraBond as the adhesive for ICC-ES AC51compliant 			stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include cured and unpainted surfaces of concrete, masonry and brick.  Where possible joints of brick and 			masonry should be struck flush.

E. Expansion joints are required in the cladding at building expansion or control joints and other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 30-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar:   A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect later work.

3.2   Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil 				thickness of at least 22 mils.  Use Flashing Tape, Mesh Tape or SuperiorFlash where needed to bridge cracks.

3.5 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.6 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.7 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

LiMaC230 Specification

Section 04 70 00

1.0 General

This is a specification for the application of a Master Wall® Light Masonry (LiMa) application over cured concrete and masonry surfaces.

1.1 System Description

The Master Wall® LiMaC230 is a light masonry stone or thin brick application over cured concrete and masonry surfaces.  It uses a leveling 			coat of UltraBond with two coats of SuperiorShield Rollershield as the air and water barrier over the surface with UltraBond as the 				adhesive for ICC-ES AC51 compliant stone or thin brick with CIFS® Brick Mortar.

1.2 Design Requirements:

A. Reference Master Wall® suggested details and architectural drawings for specific detail requirements.

B. Slope all surfaces a minimum of 1:2 (6” in 12”) to shed water, maximum 12” (305mm) wide.

C. Maximum deflection of substrates shall not exceed L/600.

D. Typical acceptable substrates include cured and unpainted surfaces of concrete, masonry and brick.  Where possible joints of brick and 			masonry should be struck flush.

E. Expansion joints are required in the cladding at building expansion or control joints and other areas where significant movement occurs.

1.3 Quality Assurance

A. The Rollershield air/water barrier shall be recognized in IAPMO ER-0384.

B. SuperiorShield product bulletins, application instructions and details.

1.4 Job Conditions

A. Store all materials protected from weather and direct sunlight at temperatures above 40oF (5oC).

B. The ambient and wall temperature shall be a minimum of 40oF (5oC) and shall remain so for at least 24 hours after installation.

1.5 Warranty

A.  Application shall include a 30-year limited warranty, please reference the LiMa Warranty Program Limited Warranty.

2.0 Products

All components of the LiMa application shall be manufactured by Master Wall® and supplied by an authorized distributor.

2.1 Leveling Base Coat: UltraBond:  A ready to use dry base adhesive that is field mixed with water.

2.2	SuperiorShield Water Barrier & Flashing Tapes:

A. SuperiorShield Rollershield RS:  A 100% pure acrylic-based roll-applied weather-resistive barrier.

B. SuperiorShield Rollershield TG:  A 100% pure acrylic-based trowel grade water-resistive barrier.

C. SuperiorShield Rollershield VB: Acrylic-based vapor barrier water resistive barrier.

D. SuperiorShield Flashing Tape: A lightweight nonwoven joint treatment material.

E. SuperiorShield Mesh Tape: A lightweight joint treatment material.

F. SuperiorFlash:  A single-component fluid applied flashing.

2.3 Master Wall® Stone/Thin Brick Adhesive: UltraBond, A ready to use dry base adhesive that is field mixed with water.

2.4 CIFS® Brick Mortar: A ready to use dry base mortar that is field mixed with water.

3.0 Installation

3.1 Inspect the substrate to ensure that it is free of all foreign materials that would affect later work.

3.2   Apply a leveling coat of UltraBond to the surface a minimum of 3/32" (3.3 mm) thick, trowel smooth and allow to cure according to data 				sheet requirements.

3.3	 Apply the Rollershield products in accordance with the product data sheets, minimum two coats or a single coating with a dry mil thickness 			of at least 22 mils.  Use Flashing Tape, Mesh Tape or SuperiorFlash where needed to bridge cracks.

3.4 Adhere ICC-ES AC51-compliant stone or thin brick using UltraBond, mixed following data sheet instructions.  Allow to cure before 				proceeding with mortar application.

3.5 Mortar with CIFS® Brick Mortar, mixed with water following data sheet instructions.  Place in joints using a grout bag or similar device and 			rake/tool when thumb print hard.

3.6 Allow the wall system to cure and protect from weather for at least 72 hours before placing in service.

Information contained in this product data sheet conforms to the standard detail recommendations and specifications for the installation of Master Wall Inc.® products and is presented in good faith. Master Wall Inc.® assumes no liability, expressed or implied as to the architecture, engineering, or workmanship of any project. This information may be concurrent with, or superseded by other applicable documents, such as specifications and details.  Contact Master Wall Inc.® for the most current product information.